## Sheet
ArcModbusOPC
Table 1, Page 4
NOTICE: | Emphasizes inform | ation of part | icular importa
3 Lia The liability of tions of Sale a from the use o tions can occu application. Th suitable preca intended as a 4 Sa | bility Hamilton Bonaduz A nd Delivery” Hamilton f the sensors. It mus r on account of the i e user is responsible utions in the event of safety device. fety Prec | G is detailed is expressly t in particular nherently lim for the care a product fa aution | in the docum not liable for be insured in ited useful life of the device. ilure. The Arc s and
WARNIN and operat | G! Read the follo ing the Arc Modbu | wing safety s OPC Con | instructions verter.
Table 2, Page 13
PC variable | Type | Content |  |  | Update in
Communication State | UInt32 | A bit-mask d of channel x Modbus OP that a senso are read out | efining the co (see Chapter C Converter. r has been de cyclically | mmunication state 8.9.7.1) of the Arc A value of 0 indicates tected and values | 3 s
Firmware | String | The name of | the sensor's | firmware | Read-out sensor de
MeasuringPoint | String | The measuri sensor. It ca is displayed software. | ng point strin n be changed in the sensor | g helps identify the by the user and list of the ArcAir | 60 s
ModuleID | String | The ID of the REF number Arc sensors of 0). | Arc Module and serial nu this variable r | SU* (combination of mber). For reusable emains empty (value | Read-out sensor de
ModuleName | String | The name of Module SU p variable rem | the Arc Modul H). For reusab ains empty (v | e SU* (e.g. Arc le Arc sensors this alue of 0). | Read-out sensor de
ModuleLot | String | The lot num reusable Arc empty. | ber of the Arc sensors this | Module SU*. For variable remains | Read-out sensor de
ModuleLotDate | String | The lot date reusable Arc empty. | of the Arc Mo sensors this | dule SU*. For variable remains | Read-out sensor de
SensorID | String | The ID of the number and | Arc sensor ( serial numbe | combination of REF r) | 60 s
SensorName | String | The product Conducell 4 | name of the USF) | Arc sensor (e.g. | 60 s
SensorRef | String | The REF nu | mber of the Ar | c sensor. | 60 s
Table 3, Page 14
SensorSN | String | The serial number of the Arc sensor.
SensorLot | String | The lot number of the Arc sensor. 60 s
SensorLotDate | String | The lot date of the Arc sensor. 60 s
able 3: Sensor informa Single-Use .9.4 Informa his information gr ensor connected t he following data i | tion tion gro oup contai o the Arc s available | up: SensorStatus ns sensor status information that helps monitor the conditi Modbus OPC Converter. as OPC variable within this information group:
PC variable | Type | Content
Autoclavings Counter | UInt32 | The number of autoclavings read out from the sensor. (The user needs to increase the number of autoclavings manually in the sensor after autoclavation)
CIPcounter | UInt32 | The number of cleaning in place cycles (CIP) detected by the sensor.
ErrorsCalibration | UInt32 | A bit-mask defining the calibration errors in the sensor (see sensor specific programmer's manual for details).
ErrorsHardware | UInt32 | A bit-mask defining the hardware errors in the sensor (see sensor specific programmer's manual for details).
ErrorsInterface | UInt32 | A bit-mask defining the interface errors in the sensor (see sensor specific programmer's manual for details).
Errors Measurement | UInt32 | A bit-mask defining the measurement errors in the sensor (see sensor specific programmer's manual for details).
MainStatus | UInt32 | A bit-mask defining the main status of the sensor (see Chapter 8.9.7.3).
OperatingHours | Float | The value of the sensor's operating hours counter.
Table 4, Page 14
SIPcounter UInt32 | The num the sens | ber of sterilization in place cycles (SIP) detected by or. | 60 s
Warnings UInt32 Calibration | A bit-ma (see sen | sk defining the calibration warnings in the sensor sor specific programmer's manual for details). | 3 s
Warnings UInt32 Hardware | A bit-ma (see sen | sk defining the hardware warnings in the sensor sor specific programmer's manual for details). | 3 s
Warnings UInt32 Interface | A bit-ma (see sen | sk defining the interface warnings in the sensor sor specific programmer's manual for details). | 3 s
Warnings UInt32 Measurement | A bit-ma (see sen | sk defining the measurement warnings in the sensor sor specific programmer's manual for details). | 3 s
able 4: Sensor status .9.5 Information gro his information group is ava ontains specific settings that he following data is available | up: Se ilable on cannot as OPC | ttings ly for Viable Cell Density sensors (e.g. Incyte Arc) be mapped to measurement parameters. variables within this information group: | and
PC variable Ty | pe | Content | Update interval
AveragingDual UI | nt32 | The number of moving average filter elements used for smoothing the dual frequency measurement signal | 60 s
AveragingScan UI | nt32 | The number of moving average filter elements used for smoothing the frequency scan measurement signal | 60 s
CellTypeMode Str | ing | Name of the currently configured Cell Type Mode | 60 s
CultureTime UI | nt32 | Count of the seconds elapsed since inoculation has been registered in the sensor. | 3 s
fmeas UI | nt32 | Index of the measurement frequency used with the configured Cell Type Mode (see Chapter 8.9.7.4) | 60 s
Table 5, Page 15
fhigh | UInt32 | Index of the configured C | background freq ell Type Mode (s | uency used with the ee Chapter 8.9.7.4)
InoculateActive | UInt32 | Flag indicati registered in | ng whether inocu the sensor. | lation has been
OffsetDual | Float | The offset va frequency m | lue deducted fro easurement. | m the raw dual
OffsetScan | Float Array | The offset va deducted fro | lues of the frequ m the raw scan | ency scan that are measurements.
ScanMode | UInt32 | Index of the Chapter 8.9. | scan mode used 7.5) | for measuring (see
SensorRecordingActive | UInt32 | Flag indicati on the dual f | ng whether a sen requency measu | sor recording is active rement
SensorRecordingInterval | UInt32 | Sampling int sensor recor connected t | erval of the curre ding (only reada o ArcAir) | ntly configured ble when sensor is
SensorRecordingName | String | Name of the | currently config | ured sensor recording
CorrelationModelActive | UInt32 | Indicates wh not | ether a correlati | on mode is active or
CorrelationModelName | String | displays the used | name of the corr | elation model being
CorrelationModelID | String | Displays the | ID of the correla | tion model being used
CorrelationModelChecksum | String | Displays the being used | checksum of the | correlation model
CorrelationModelDate | String | Displays the used | date of the corre | lation model being
CorrelationModelTime | String | Displays the used | time of the corre | lation model being
Offset Cell Density | Float | Offset being | used for the cell | density measurement
ZeroDualActive | UInt32 | Flag indicati dual frequen | ng whether mark cy measuremen | zero is active on the t
Table 6, Page 16
Bit | Value (hexadecimal) | Value (decimal) | Description | Meaning / Possib | le measures
0 | 0x00000001 | 1 | Hardware error | Contact Hamilton | Technical Su
1 | 0x00000002 | 2 | Sensor not detected | No sensor has be variables will not b sure the sensor is to the Arc Modbu | en detected. e updated. properly con s OPC Conve
2 | 0x00000004 | 4 | Sensor over- current | The over-current communication c activated. Check sensor for proper | protection of hannel has b the cabling a functionality.
3 | 0x00000008 | 8
4 | 0x00000010 | 16 | Sensor communication error | The connection to previously detecte communication is the sensor is prop the Arc Modbus O | the sensor d is interrupt possible. Ma erly connect PC Convert
5 | 0x00000020 | 32 | Sensor scan active | The Arc Modbus actively scanning communication c | OPC Convert for a sensor hannel.
6 | 0x00000040 | 64 | Internal error 06 | Contact Hamilton | Technical Su
7 | 0x00000080 | 128 | Internal error 07 | Contact Hamilton | Technical Su
8 | 0x00000100 | 256 | Internal error 08 | Contact Hamilton | Technical Su
9 | 0x00000200 | 512 | Internal error 09 | Contact Hamilton | Technical Su
10 | 0x00000400 | 1024 | Internal error 10 | Contact Hamilton | Technical Su
11 | 0x00000800 | 2048 | Internal error 11 | Contact Hamilton | Technical Su
12 | 0x00001000 | 4096 | Internal error 12 | Contact Hamilton | Technical Su
Table 7, Page 16
CalibrationCoefficient1 | Float | pH: Zero Point
ORP: Offset
Optical dissolved oxygen: Phase 0
Electrochemical dissolved oxygen: Zero Current
Conductivity ultrapure water: Offset Resistance
Conductivity 4-pole: Resistance
CalibrationCoefficient2 | Float | pH: Slope
ORP: Not Used
Optical dissolved oxygen: Stern Volmer Coefficient
Electrochemical dissolved oxygen: Slope
Conductivity ultrapure water: Cell Constant
Conductivity 4-pole: Cell Constant
able 6: Calibration coefficients T | S1
PC variable | Type | Content TS1
CalibrationCoefficient1 | Float | Optical dissolved oxygen: Phase 0
CO: Zero Point SR 2
CDO: I0f
CalibrationCoefficient2 | Float | Optical dissolved oxygen: Stern Volmer
CO: CO Point SR 2 2
CDO: Rho
CalibrationCoefficient3 | Float | Optical dissolved oxygen: Ref. Temp
CDO: Xi
CalibrationCoefficient4 | Float | CDO: I0b
CalibrationCoefficient5 | Float | CDO: Ibl
Total Pressure | Float | Total Pressure for calibration
Total Humidity | Float | Total Humidity for calibration
CellConstant | Float | Cell Constant (only present for Viable Cell Density)
Table 8, Page 17
17 | 0x00020000 | 131072 | nA | nA | nA
18 | 0x00040000 | 262144 | µA | µA | uA
19 | 0x00080000 | 524288 | mA | mA | mA
20 | 0x00100000 | 1048576 | µV | µV | uV
21 | 0x00200000 | 2097152 | mV | mV | mV
22 | 0x00400000 | 4194304 | V | V | V
23 | 0x00800000 | 8388608 | mbar | CFU (TCD) | mbar
24 | 0x01000000 | 16777216 | Pa | - | Pa
25 | 0x02000000 | 33554432 | Ohm | Ohm | Ohm
26 | 0x04000000 | 67108864 | %/K | %/K | %/K
27 | 0x08000000 | 134217728 | ° | ° | °
28 | 0x10000000 | 268435456 | - | e6 cells/ml | e6 c/
29 | 0x20000000 | 536870912 | - | pF/cm | %
30 | 0x40000000 | 1073741824 | - | kHz | -
31 | 0x80000000 | 2147483648 | - | OD | OD
able 9: B .9.7.3 | it-mask Measurement Main Status | Units
it | Value (hexadec | imal) Valu | e (decimal) Description
0 | 0x00000001 | 1 | Temperature out | of measurement | rang
1 | 0x00000002 | 2 | Temperature out | of operating ran | ge
2 | 0x00000004 | 4
3 | 0x00000008 | 8 | Sensor warnings | not zero
Table 9, Page 17
Bit | Value (hexadecimal) | Value (decimal) | Conductivity4-Pole, ConductivityUltraPureWater, Electrochemical DissolvedOxygen, OpticalDissolvedOxygen, ORP, pH | Cell Density
0 | 0x00000001 | 1 | none | none
1 | 0x00000002 | 2 | K | K
2 | 0x00000004 | 4 | °C | °C
3 | 0x00000008 | 8 | °F | °F
4 | 0x00000010 | 16 | %-vol | PCV
5 | 0x00000020 | 32 | %-sat | AU (TCD)
6 | 0x00000040 | 64 | µg/l ppb | arb. Unit (TCD)
7 | 0x00000080 | 128 | mg/l ppm | NTU (TCD)
8 | 0x00000100 | 256 | g/l | g/l
9 | 0x00000200 | 512 | µS/cm | µS/cm
10 | 0x00000400 | 1024 | mS/cm | mS/cm
11 | 0x00000800 | 2048 | 1/cm | 1/cm
12 | 0x00001000 | 4096 | pH | mS
13 | 0x00002000 | 8192 | mV/pH | pF
14 | 0x00004000 | 16384 | kOhm | kOhm
15 | 0x00008000 | 32768 | MOhm | MOhm
Table 10, Page 18
5 | 0x00000020
6 | 0x00000040
7 | 0x00000080
8 | 0x00000100
9 | 0x00000200
10 | 0x00000400
11 | 0x00000800
12 | 0x00001000
13 | 0x00002000
14 | 0x00004000
15 | 0x00008000
16 | 0x00010000
17 | 0x00020000
18 | 0x00040000
19 | 0x00080000
20 | 0x00100000
21 | 0x00200000
22 | 0x00400000
23 | 0x00800000
24 | 0x01000000
25 | 0x02000000
26 | 0x04000000
27 | 0x08000000
28 | 0x10000000
29 | 0x20000000
30 | 0x40000000
Table 11, Page 18
ndex | Frequency
0 | 300.1
1 | 373.8
2 | 465.7
3 | 579.8
4 | 720.0
5 | 896.4
6 | 999.5
7 | 1117.7
8 | 1392.3
9 | 1729.3
10 | 2002.7
11 | 2155.3
12 | 2689.3
13 | 3347.3
14 | 4158.0
15 | 5187.9
16 | 6446.8
17 | 8029.9
18 | 9994.5
Table 12, Page 25
No connection to OPC Server | • Check if t to the netw the LED will established • Send a Pi the network • Make sur correct. • Re-start t • Check Sy states shou please cont
Communication with OPC Converter possible, but no information from the connected sensors | Check the sensor type connected